## Slide 1: Introduction to Process control system design
NUBYIRA PROCESS DESIGNERS

## Slide 2: INTRODUCTION
DYNAMIC MODEL Dynamic control control system design

## Slide 3: GUIDELINES For CHOOSING Control SYSTEM DESIGN
Simple control system design is better (easy to understand by operators).
No redundant components.
Avoid long control loops with large dead or response time.
Use feedforward control to compensate large disturbance.
Holdup time 5-10 minutes is good enough for control engineer.
Choose control system that minimize interaction with other systems
System identification and understanding
Plant-Wide Control System Design
Buckley Procedures
Material & Energy balance control loops (Control Surge points liquid level, temperature and pressure, purge excess material or heat out of the system).
Production Specifications control loops (Product quality, products composition, production throughputs).
Surge points holdup sizing to increase process dynamic gain which will reduce or break interactions between the two types of control loops.

## Slide 4: TYPES OF Control SYSTEM DESIGN: FEEDBACK Control

## Slide 5: TYPES OF Control SYSTEM DESIGN: FEEDFORWARD Control

## Slide 6: TYPES OF Control SYSTEM DESIGN: CASCADE Control

## Slide 7: TYPES OF Control SYSTEM DESIGN: RATIO Control

## Slide 8: PID CONTROLLER
Mathematical algorithm widely used in industrial and engineering applications to maintain a process at a desired operating setpoints.
Measures the error (difference between desired process output setpoint r(t) and current process output y(t)).
Calculates a corrective action using Proportional (P-past), Integral (I-present), and Derivative (D-predicted future) terms.
A good PID controller ensures fast response to change, minimizes overshoot, maintains stable operations, low steady state error, Robustness and simplicity.
A PID controller algorithms can be implemented in software, hardware, or electronic devices to regulate real-world systems.
PID Controller Parameters Tuning
Manual tuning (trial and error)
Ziegler-Nichols method (heuristic-based on experience)
Software-based optimization tuning
Ultimate gain Ku​ : the value P-only controller KP​ that causes sustained oscillation in the process.
Ultimate period Ku​ ​ : the period of the sustained oscillation (in seconds).

## Slide 9: Process Dynamics Data generation
Sampling Time RISE TIME OVERSHOOT Settling TIME Data Storage

## Slide 10: GRACIAS THANK YOU SHUKRAN MERCI XIE XIE SPASIBO
Babatunde Rahim Popoola